**Annual Drinking Water Quality Report for 2022**

**Campbell Water District #1**

**8529 Main St.**

**Campbell, NY 14821**

**Public Water Supply ID#NY5030104**

To comply with State regulations, the Town of Campbell, will be annually issuing a report describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources. Our water System went on line around June 1, 2008. A significant amount of water sampling was completed both before and after the initial startup, and we are proud to report that our system has never violated a maximum containment level. This report provides an overview of last year’s water quality. Included are details about where your water comes from, what it contains, and how it compares to State standards. If you have any questions about this report or concerning your drinking water, please contact Tom Austin, Water System Operator at 769-5123. We want you to be informed about your drinking water. If you want to learn more, please attend any of our regularly scheduled town board meetings.

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities. Contaminants that may be present in source water include: microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants. In order to ensure that tap water is safe to drink, the State and the EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems. The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water system, at the time of this report, serves approximately 330 residents (excluding commercial business) through 176 service connections. Our water supply comes from two drilled wells, with depths of approximately 75 feet and 81 feet. The two wells are located at 8330 County Route 333. Both of the wells are treated with sodium hypochlorite and treated for iron, manganese, arsenic and methane prior to entering the distribution system. At the time of this report, a source water assessment was not available from the NYS Department of Health. For any questions regarding this assessment, please contact the Hornell District Office of the NYS Department of Health at 607-324-8371.

**ARE THERE CONTAMINANTS IN OUR DRINKING WATER?**

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include: total coliform, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, total trihalomethanes, halo acetic acids, radiological and synthetic organic compounds. The table presented below depicts which compounds were detected in your drinking water. The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though representative, are more than one year old. Based on hydro geological and the close proximity of the two wells (approximately 200’), the wells are most likely drawing from the same aquifer. For this reason, sampling from one well will be representative of both wells in the future.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the Hornell District Office of the NYS Department of Health at 607-324-8371.

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include: total coliform, turbidity, inorganic compounds, nitrate, nitrite, lead and copper, volatile organic compounds, total trihalomethanes, and synthetic organic compounds. None of the compounds we analyzed for were detected in your drinking water.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Table of Detected Contaminants** | | | | | | | |
| **Contaminant** | **Violation**  **Yes/No** | **Date of Sample** | **Level Detected**  **(Avg/Max)**  **(Range)** | **Unit**  **Measure-ment** | **MCLG** | **Regulatory Limit (MCL, TT or AL)** | **Likely Source of Contamination** |
| **Inorganic**  **Contaminates** | | | | | | | |
| Lead \*1 | No | 9/26/2018 | 90% = 2.5  Range: ND-2.9 | ug/l | 0 | AL = 15 | Corrosion of household plumbing systems; Erosion of natural deposits. |
| Lead | No | 6/7/2016 | Entry Pt = 4.3 | ug/l | 0 | AL = 15 | Corrosion of household plumbing systems; Erosion of natural deposits. |
| Copper \*1 | No | 9/26/2018 | 90% = 0.51  Range: 0.08-0.61 | mg/l | 1.3 | AL = 1.3 | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. |
| Arsenic | No | Quarterly  2022 | Ave: 5.5  Range: 5.1-6.0 | ug/l | N/A | 10 | Erosion of natural deposits; Runoff from orchards; Runoff from glass electronics production wastes. |
| Sodium\*\* | No | 7/18/2022 | 51.0 | mg/l | N/A | 0 | Naturally occurring; road salt; water softeners; animal waste. |
| **Organic**  **Contaminates** | | | | | | | |
| Total  Trihalomethanes | No | 8/21/2020 | 59 | ug/l | N/A | 80 | By-product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains large amounts of organic matter. |
| Haloacetic Acids | No | 8/21/2020 | 12 | ug/l | N/A | 60 | By-product of drinking water chlorination. |
| Barium | No | 7/2/2019 | .906 | mg/L | 2 | 2 | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Flouride | No | 7/2/2019 | 0.2 | mg/L | N/A | 2.2 | Erosion from natural deposits; Water additive that promotes strong teeth; Discharge from fertilizer and aluminum factories. |

According to State regulations, the Town of Campbell Water District #1 routinely monitors your drinking water for various contaminates. Your water is tesed for nitrates, bromomethane, chlorthane, and chloromethane. Additionally, your water is tested for coliform bacteria once per month. The contaminants detected in your drinking water are included in the Table of Detected Contaminants.

\*1 – Lead & Copper Results: The level presented represents the 90th percentile of the 5 sites tested. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it. The 90th percentile is equal to or greater than 90% of the copper values detected at your water system.

\*\* - Water containing more than 20 mg/L of sodium should not be used for drinking water by people on severely restricted sodium diets. Water containing more than 270 mg/L of sodium should not be used for drinking by people on moderately restricted diets.

**Definitions:**

***Maximum Contaminant Level (MCL)***: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible.

***Maximum Contaminant Level Goal (MCLG)***: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

***Maximum Residual Disinfectant Level (MRDL)***: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

***Maximum Residual Disinfectant Level Goal (MRDLG)***: The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.

***Action Level (AL)***: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

***Treatment Technique (TT)***: A required process intended to reduce the level of a contaminant in drinking water.

***Non-Detects (ND)***: Laboratory analysis indicates that the constituent is not present.

***Nephelometric Turbidity Unit (NTU)***: A measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

***Milligrams per liter (mg/l)***: Corresponds to one part of liquid in one million parts of liquid (parts per million - ppm).

***Micrograms per liter (ug/l)***: Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).

***Nanograms per liter (ng/l)***: Corresponds to one part of liquid to one trillion parts of liquid (parts per trillion - ppt).

***Picograms per liter (pg/l)***: Corresponds to one part per of liquid to one quadrillion parts of liquid (parts per quadrillion – ppq).

***Picocuries per liter (pCi/L)***: A measure of the radioactivity in water.

***Millirems per year (mrem/yr****)*: A measure of radiation absorbed by the body.

***Million Fibers per Liter (MFL)***: A measure of the presence of asbestos fibers that are longer than 10 micrometers.

**WHAT DOES THIS INFORMATION MEAN?**

We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State. General Information on Lead in Drinking Water:

If present, elevated levels of lead can cause serious health problems, especially for pregnant women, infants, and young children. It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing. The Town of Campbell is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4791) or at http://www.epa.gav/safewater/lead.

Although arsenic was detected below the MCL, it was detected at 7.9 parts per billion which is greater than one-half of the MCL. Therefore, we are required to present the following information on arsenic in drinking water:

“NYS and EPA have promulgated a drinking water arsenic standard of 10 parts per billion.  While your drinking water meets the standard for arsenic, it does contain low levels of arsenic.  The standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water.  EPA continues to research the health effect of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.”

**IS OUR WATER SYSTEM MEETING OTHER RULES THAT GOVERN OPERATIONS?**

During 2022, our system was in compliance with applicable State drinking water operating, monitoring and reporting requirements. The Town of Campbell is required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During 2020, we did not monitor or test for nitrate and therefore cannot be sure of the quality of your drinking water during that time. Samples were taken in both 2021 and 2022 that did meet health standards.

**DO I NEED TO TAKE SPECIAL PRECAUTIONS?**

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care provider about their drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

**CLOSING**

Thank you for allowing us to continue to provide your family with quality drinking water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. The costs of these improvements may be reflected in the rate structure. Rate adjustments may be necessary in order to address these improvements. We ask that all our customers help us protect our water sources, which are the heart of our community. Please call our office if you have questions.

Sincerely,

Tom Austin, Water System Operator